## Slide 1: Standardized XML 3.0

## Slide 2: The path forward
V2.9 will be updated with the currently requested fields
    Calibrate StarchCB, NDFCB, GPNCB, FPNCB
    DON_3Ac15Ac, T2HT2, HT2, FUM_B1, BUM_B2, FUM_B3, FusarenonX, Nivalenol, Neosolaniol, DAS, Ochratoxin A
    Fatty acid_ID
    titanium
V3.0 will move to an advanced scheme enabling new functionality

## Slide 3: Motivation for structural changes
New field | Purpose
Sampling Date | When was sample taken?
Date received | When was sample received at lab?
Sample Type Code | Allows mapping of codes within each lab to codes used by client
Account number | Who paid for the analysis?
Account name | “ “
Requester_ID | Who submitted the sample?
Recipient_ID | Who should receive the analysis results?
Lot_ID | Grouping multiple samples
Client Company Database
Lab
Consultant
software
2.9
3.0
Field | Use
Account number | Who paid for this?
Requester_ID | Who ordered this?
Recipient_ID | Who needs to receive this?
Farm_ID | Which farm is this for?
Lot_ID | Which samples should this be grouped with?

## Slide 4: Objectives of 3.0
Enable data transactions – who requested it, who’s paying for it, who should receive it
Allow more advanced usage without requiring it
Create consistent naming convention for digestibility’s
Reduce redundancy
Principles
There should be one—and preferably only one—obvious way to do it.
Explicit is better than implicit.
Simple is better than complex.
Although practicality beats purity.

## Slide 5: Redundancy
Do we need:
  % of DM, % of CP, and % of SP? As N?
    X 23 amino acids = 23 lines of redundant information
    X SP, NPN, ADICP, NDICP, NDICPns, RDP, RUP, NH3, Urea = 18 lines of redundant information
  % of DM, % of TFA, and % of EE?
    X 10 FA’s = 20 lines of redundant information
  u%DM, d%DM, u%NDF, d%NDF?
    X 7 time points = 21 lines of redundant information
  Mcal/kg, Mcal/lg, Mcal/CWT, MJ/kg?
    X NEL, NEM, NEG, milk/ton, TDN = 20 lines of redundant information

## Slide 6: Updated Analysis ID convention
XML 2.9
Name
Value
XML 3.0 | Example | Purpose
PropertyID* | 012345 | ?seeking clarification on customer request
PropertyName | TFA | Maintains current mapping by name
Result | 2.68 | 
Unit | %DM | Defines unit outside of name.
Operator* | = | Analyses with LOD, LOQ, <,<=,=,>,=>
AnalyseDate* | 4/6/2018 | Allows tracking of tests completed at different times. Rechecks?
MethodType | WC | WC, NIR, Calculation
MethodName* | Jenkins 1 step GC | Allows communication of method if desired. Independent of method type so reference methods for NIR can be communicated
*optional fields

## Slide 7: Digestibility Convention
Nutrient_Type_Timepoint_grindgrindtype
aNDFom_IV_30h_1c
Eliminate iNDF since it is measured as 96,120,240 etc.?
  Or keep it because it’s a theoretical number that could be estimated many ways?
Tag Piece | Options
Nutrient | NDF, aNDF, aNDFom, NDR, aNDR, aNDRom, Starch, CP, ect…
Type | IV = in vitro, IS = in situ, CG = Combs_goeser
Time point | In hours, no decimals (7h,24h,30h, ect..)
Grind | Screen size in mm, no decimals, As Is = AI
Grind type | Cyclone = c, Wiley = w
Advantage over 2.9:
Identifies key attributes in a single convention for fiber, starch, and protein digestibility.
Unit | u = %DM D = %NDF, Starch, CP, N, ect.

## Slide 8: Fatty Acid Convention
Need to identify:
  Chain length (18)
  Number of double bonds (0,1,2, ect)
  Cis and trans isomers?
C_chainlength_doubles_cis_trans
Tag piece | Example
C | 
chain length | 18
doubles | 2
cis | c10
trans | t12
Advantages over 2.9:
Identifies any fatty acid

## Slide 9: Calculations
Dream world – user is responsible for understanding how to apply calculations
Reality –
  Some calculations are perceived as added value
  Is a/b added value?
2.9 issues:
What do NDFkd, NEL, ect. mean in the context of multiple methods, systems for calculations, and digestibility pools?
Unless customers all graduate from one university, they will prefer different systems.

## Slide 10: Calculations – kd convention
Nutrient_kd_timepoints_pools
aNDFom_kd_t1_p1
kd rates | Examples
nutrient | aNDFom, Starch, NDR, ect
number of time points included | 1,2,3
number of digestible pools assumed | 1,2
Example | aNDFom_kd_t2_p1

## Slide 11: Calculations – Energy convention
Type_system
NEL_NRC01
If a/b is added value:
  add units as last segment of the tag, but then we have to support Mcal/kg, Mcal/lb, Mcal/CWT, MJ/kg
Milk/tonne in metric won’t be popular, but it would be strange to have NEL, NEM, NEG in metric and milk/ton in English
  We could to everything in English units, but scientific applications typically are done in metric
Type | NEL, NEM, NEG
System | ADF, NRC01, Milk06, Milk06np, Milk13, others?
Units | NEL, NEM, NEG, always Mcal/kg
TDN | energysystem unitless (%DM?)
milk/ton | energysystem kg/metric tonne?

## Slide 12: XSD
XML Schema Definition
Defines expected types:
  Character, date, or number
  Max number of characters
    Max digits for sample numbers
    Max characters in descriptions
    Ect.

## Slide 13: Open questions
Can we ignore DCAD calcs?
Should all protein fractions be N based?
Should we adopt water nutrients?
What are the units on amino acid insoluble residues? %DM?
Do we know what method is implied by ISR?
What are units on urease activity?
What are units on pepsin digestibility?
fatty acid _ID?
  No reason not to add it, but is anyone actually measuring this?